Equipment used

Bill Conway:

- GoFlo bottles: Model 1010-1.5

- Anemometer: company CANPA, serial number: 2750651

- Water flow counter – Hydro Bios KIEL

- Plankton net: 200μm – 50cm diameter

- Navigation: Trible GPS, Navifisher 2000

- ADCP – software: WINRIVER(acquire)

- Rosette – YSI 105 attached (used as CTD), Niskin bottles 1.7L

- Messenger for Niskin bottles: model 1015 PM

- GFF (glass filter fibres – used for chemistry) -  Fisherbrand FB59451 (25mm – size, MF300 range)

- Finnpippette (1000μl) – Labsystems F07778, sn: 4501

- Chemicals added to water samples: 1)Manganous chloride

2) Alkaline iodide

Probe models and serial numbers with calibration salinity and temperature.

Conway:

1)  F105C – YSI 650 MDS (on CTD)

Model: 600QS-C-T-PH-DO-M

Sn: O4E944O AA

Salinity: 27.91

Temperature: 15.25 ºC

2)  F200 – YSI

Model: 30M – 100FT

Sn: O8E101901

Salinity: 28.4

Temperature: 15.2 ºC

3)  F1a salinometer WTW, profilab (inside)

Salinity: 28.1

Temperature: 15.4 ºC

Ocean Adventure

4)  F981 – YSI 650 MDS

Model: 600QS-O-M

Sn: 03H1735 AA

Salinity: 28.45

Temperature: 15.21 ºC